## Cover
| Dataset information |  |  | Dataset format information
|  | Column name | Dataset entries
1 | Identification | dataset_id | auto | IEDC data file
2 |  | dataset_name | 3_LT_Electricity_CIRCOMOD_D4.2_2025
3 |  | dataset_version | v0 | Format_Version | IEDC_V1
4 | Grouping | datagroup_id | CIRCOMOD_Task3.2_Lifetime | Dataset_Unit | LIST
5 |  | data_category | 3 | Dataset_Uncertainty | LIST
6 |  | data_type | Lifetime | Dataset_Comment | LIST
7 |  | data_layer | Lifetime | Dataset_RecordType | LIST | No_Rows | 90
8 | System location: What elements and objects in the system are described? | process_scope | Use phase | Aspects_classifications | Aspects_Attribute_No | DATA | DATA_Info
9 |  | process_resolution | 1 end use sector | end-use sector | 1 | value
10 |  | product_scope | electricty infrastructure | material | 1 | unit nominator
11 |  | product_resolution | different technologies | region | 1 | unit denominator
12 |  | material_scope | none | layer | 1 | stats_array string
13 |  | material_resolution | none |  |  | comment
14 |  | regional_scope | Global
15 |  | regional_resolution | Global
16 |  | temporal_scope | none
17 |  | temporal_resolution | none
18 | Description | description | lifetime of electricity infrastrucutre commodities, global averages
19 |  | keywords | lifetime, electricity infrastrucutre, use phase
20 |  | data_provenance | Official data from government institution; Result of academic MFA work
21 |  | dataset_size | [filled in later]
22 |  | comment
23 | System location: Dataset aspects and semantics. For aspects: [Aspect;symbol;classification]. Mandatory aspects in gray shading. | aspect_1 | end-use sector
24 |  | aspect_1_classification | 6
25 |  | aspect_2 | material
26 |  | aspect_2_classification | 83
27 |  | aspect_3 | region
28 |  | aspect_3_classification | 2
29 |  | aspect_4 | layer
30 |  | aspect_4_classification | 20
31 |  | aspect_5 | none
32 |  | aspect_5_classification | none
33 |  | aspect_6 | none
34 |  | aspect_6_classification | none
35 |  | aspect_7 | none
36 |  | aspect_7_classification | none
37 |  | aspect_8 | none
38 |  | aspect_8_classification | none
39 |  | aspect_9 | none
40 |  | aspect_9_classification | none
41 |  | aspect_10 | none
42 |  | aspect_10_classification | none
43 |  | aspect_11 | none
44 |  | aspect_11_classification | none
45 |  | aspect_12 | none
46 |  | aspect_12_classification | none
47 |  | tupel_notation | Value(g,p,r)
48 |  | semantic_string_example | Product 'Grid - Transformers' in the use phase in region global has lifetime of 30 years.
49 |  | semantic_string_general
50 | Data access and licence | type_of_source | Publicly available report or research article
51 |  | project_license | unknown/not specified
52 |  | main_author | unknown/not specified
53 |  | dataset_link | unknown/not specified
54 |  | dataset_format | unknown/not specified
55 |  | project_report | Misc., see [ref] sheet of data template
56 |  | suggested_citation | Misc., see [ref] sheet of data template
57 |  | visible | 1
58 | Data submission, review, and conversion info | access_date | Misc., see [ref] sheet of data template
59 |  | submission_date | [filled in later]
60 |  | submitting_user | CIRCOMOD team via Martijn van Engelenburg
61 |  | dataset_conversion_info | Numbers manually copied from original sources to Excel spreadsheet
62 |  | review_date | 2025-03-03
63 |  | review_user | Marcel Geller
64 |  | review_comment
65 | Reserve | reserve1
66 |  | reserve2
67 |  | reserve3
68 |  | reserve4
69 |  | reserve5

## Data
end-use sector | material | region | layer | value | unit nominator | unit denominator | stats_array string | comment |  |  | source
use phase - electricity infrastructure | Grid (all elements) | UK | Lifetime | 40 | yr | 1 | none | none | Entry 1 |  | Harrison et al. 2010
use phase - electricity infrastructure | Grid - Transformers | Denmark | Lifetime | 30 | yr | 1 | none | none | Entry 1 |  | Turconi et al. 2014
use phase - electricity infrastructure | Grid - Lines | Global | Lifetime | 40 | yr | 1 | none | none | Entry 1 |  | Jorge et al. 2012
use phase - electricity infrastructure | Grid - Transformers | Global | Lifetime | 30 | yr | 1 | none | none | Entry 1 |  | Jorge et al. 2012
use phase - electricity infrastructure | Grid - Transformers (HV) | Global | Lifetime | 35 | yr | 1 | none | none | Entry 1 |  | Jorge et al. 2012
use phase - electricity infrastructure | Grid - Lines (Underground) | Global | Lifetime | 80 | yr | 1 | none | none | Entry 1 |  | Jones et al. 2010
use phase - electricity infrastructure | Grid - Lines (Aboveground) | Global | Lifetime | 70 | yr | 1 | none | none | Entry 1 |  | Jones et al. 2010
use phase - electricity infrastructure | Grid - Lines | Global | Lifetime increase | 20 | % | 1 | none | none | Entry 2 | 2050 value, CE measure | IRP GRO 2024
use phase - electricity infrastructure | Generation - Solar PV | Global | Lifetime | 25 | yr | 1 | none | none | Entry 1 | Data extracted from the IMAGE Energy model (TIMER) assumptions, as described by the indicated source. Indicated lifetimes can not neccesarily be found in the source explicitly | van Vuuren 2007
use phase - electricity infrastructure | Generation - CSP | Global | Lifetime | 25 | yr | 1 | none | none | Entry 1 | Assumed similar to Solar PV | Deetman et al. 2020
use phase - electricity infrastructure | Generation - Wind | Global | Lifetime | 25 | yr | 1 | none | none | Entry 1 | Data extracted from the IMAGE Energy model (TIMER) assumptions, as described by the indicated source. Indicated lifetimes can not neccesarily be found in the source explicitly | van Vuuren 2007
use phase - electricity infrastructure | Generation - Hydro | Global | Lifetime | 80 | yr | 1 | none | none | Entry 1 | Data extracted from the IMAGE Energy model (TIMER) assumptions, as described by the indicated source. Indicated lifetimes can not neccesarily be found in the source explicitly | van Vuuren 2007
use phase - electricity infrastructure | Generation - Other Renewables | Global | Lifetime | 30 | yr | 1 | none | none | Entry 1 | Data extracted from the IMAGE Energy model (TIMER) assumptions, as described by the indicated source. Indicated lifetimes can not neccesarily be found in the source explicitly | van Vuuren 2007
use phase - electricity infrastructure | Generation - Nuclear | Global | Lifetime | 60 | yr | 1 | none | none | Entry 1 | Data extracted from the IMAGE Energy model (TIMER) assumptions, as described by the indicated source. Indicated lifetimes can not neccesarily be found in the source explicitly | van Vuuren 2007
use phase - electricity infrastructure | Generation - Fossil Fuel Based | Global | Lifetime | 40 | yr | 1 | none | none | Entry 1 | Data extracted from the IMAGE Energy model (TIMER) assumptions, as described by the indicated source. Indicated lifetimes can not neccesarily be found in the source explicitly | van Vuuren 2007
use phase - electricity infrastructure | Generation - Solar PV | Global | Lifetime | 33 | yr | 1 | none | none | Entry 2 | 2050 value, CE measure | IRP GRO 2024
use phase - electricity infrastructure | Generation - CSP | Global | Lifetime | 28 | yr | 1 | none | none | Entry 2 | 2050 value, CE measure | IRP GRO 2024
use phase - electricity infrastructure | Generation - Wind | Global | Lifetime | 30 | yr | 1 | none | none | Entry 2 | 2050 value, CE measure | IRP GRO 2024
use phase - electricity infrastructure | Storage - Pumped Hydro Storage | Global | Lifetime | 60 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Flywheel | Global | Lifetime | 20 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Compressed air | Global | Lifetime | 50 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Hydrogen Fuel Cells | Global | Lifetime | 4.1 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - NiMH | Global | Lifetime | 4.1 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Lead Acid | Global | Lifetime | 6.2 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - LMO | Global | Lifetime | 2.1 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - NMC | Global | Lifetime | 6.2 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - NCA | Global | Lifetime | 2.1 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - LFP | Global | Lifetime | 10.3 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - LTO | Global | Lifetime | 15 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Zinc-Bromide | Global | Lifetime | 12 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Vanadium Redox | Global | Lifetime | 10 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Sodium Sulfur | Global | Lifetime | 17 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - ZEBRA | Global | Lifetime | 15 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Lithium Sulfur | Global | Lifetime | 2.15 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Lithium Ceramic | Global | Lifetime | 2 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Lithium-air | Global | Lifetime | 2.98 | yr | 1 | none | none | Entry 1 | 2018 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Hydrogen Fuel Cells | Global | Lifetime | 9.6 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Lead Acid | Global | Lifetime | 12.3 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - LMO | Global | Lifetime | 3.3 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - NMC | Global | Lifetime | 8.2 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - NCA | Global | Lifetime | 3.3 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - LFP | Global | Lifetime | 20 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - LTO | Global | Lifetime | 23 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Zinc-Bromide | Global | Lifetime | 20 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Vanadium Redox | Global | Lifetime | 17 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Sodium Sulfur | Global | Lifetime | 22 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - ZEBRA | Global | Lifetime | 22 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Lithium Sulfur | Global | Lifetime | 4.11 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Lithium Ceramic | Global | Lifetime | 10 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Storage - Batteries - Lithium-air | Global | Lifetime | 4.44 | yr | 1 | none | none | Entry 1 | 2030 | Deetman et al. 2020
use phase - electricity infrastructure | Grid - Equipment - Circuit breaker | Global | Lifetime | 40 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Circuit breaker | Global | Lifetime distribution type | Normal |  | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Circuit breaker | Global | Standard deviation | 6 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Transformer | Global | Lifetime | 40 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Transformer | Global | Lifetime distribution type | Normal |  | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Transformer | Global | Standard deviation | 7 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Power Transformer | Global | Lifetime | 43.5 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Power Transformer | Global | Lifetime distribution type | Normal |  | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Power Transformer | Global | Standard deviation | 8 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - SF6-substation | Global | Lifetime | 40 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - SF6-substation | Global | Lifetime distribution type | Normal |  | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - SF6-substation | Global | Standard deviation | 8 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Electrocmechanic protection | Global | Lifetime | 32.5 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Electrocmechanic protection | Global | Lifetime distribution type | Normal |  | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Electrocmechanic protection | Global | Standard deviation | 9 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Lines - Aboveground | Global | Lifetime | 60 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Lines - Aboveground | Global | Lifetime distribution type | Normal |  | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Lines - Aboveground | Global | Standard deviation | 14 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Lines - Cables | Global | Lifetime | 57.5 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Lines - Cables | Global | Lifetime distribution type | Normal |  | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Lines - Cables | Global | Standard deviation | 20 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Towers | Global | Lifetime | 67.5 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Towers | Global | Lifetime distribution type | Normal |  | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Towers | Global | Standard deviation | 21 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Wood poles | Global | Lifetime | 45 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Wood poles | Global | Lifetime distribution type | Normal |  | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Grid - Equipment - Wood poles | Global | Standard deviation | 4 | yr | 1 | none | none | Entry 1 |  | Balzer & Schorn, 2015
use phase - electricity infrastructure | Generation - Hydro (run-of-river) | Global | Lifetime | 50 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - Hydro (storage) | Global | Lifetime | 50 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - Geothermal | Global | Lifetime | 30 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - Wind Onshore | Global | Lifetime | 25 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - Wind Offshore | Global | Lifetime | 25 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - PV (rooftop) | Global | Lifetime | 25 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - PV (ground-mntd.) | Global | Lifetime | 25 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - CSP | Global | Lifetime | 25 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - Bioenergy | Global | Lifetime | 20 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - Coal | Global | Lifetime | 40 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - Gas | Global | Lifetime | 30 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - Oil | Global | Lifetime | 25 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021
use phase - electricity infrastructure | Generation - Nuclear | Global | Lifetime | 50 | yr | 1 | none | none | Entry 3 |  | Kalt et al., 2021

## log
Log entry name (link to column I on Data sheet) | Which product? (check CM_2: flowables for existing labels) | Which material consuming sector? | Date | Who | What - detailed description | List items of ref sheet used
example_1 | detached house, residential buildings | Buildings | 2023-11-05 | van Engelenburg | added sample data | 1
Additional comments, assumptions, and proxy choices made:
None.
Qualitative evaluation of the data (coverage, overall quality and representativenss, technology readiness, scalability, quality evaluation of the data)
None.
Entry 1 | Grid, generation & storage lifetimes | Electricity | 2024-01-04 | Deetman | Mean lifetime data sources added as used in Deetman et al. 2020 (https://doi.org/10.1016/j.resconrec.2020.105200) | 1
Additional comments, assumptions, and proxy choices made:
None.
Qualitative evaluation of the data (coverage, overall quality and representativenss, technology readiness, scalability, quality evaluation of the data)
None.
Entry 2 | Grid, generation & storage lifetimes | Electricity | 2024-04-01 | Deetman | Additional mean lifetime data sources added as applied in the IRP Globar Resource Outlook (2024, forthcoming)
Additional comments, assumptions, and proxy choices made:
These inlcude Circular Economy (CE) measures aimed at increased resource efficiency (RE) such as a lifetime increase in % often compared to or in relation to data in Entry 1
Qualitative evaluation of the data (coverage, overall quality and representativenss, technology readiness, scalability, quality evaluation of the data)
None.
Entry 3 | Generation lifetimes | Electricity | 2024-02-07 | zotin | Generation lifetimes included in Kalt et al., 2021 supporting info file | 9
Additional comments, assumptions, and proxy choices made:
None.
Qualitative evaluation of the data (coverage, overall quality and representativenss, technology readiness, scalability, quality evaluation of the data)
None.

## ref
Dataset | literature_id | Instruction: Here: fill in sufficient info to link dataset back to original source! | data source name/type/report | authors | title | year | journal_outlet_institution | city | DOI (for papers) and checksum (MD5) for datasets and scripts | URL or link to document, name of document | copyright | archive location | notes
Harrison et al. 2010 | 1 |  | journal paper | G.P Harrison; E.J. Maclean; S. Karamanlis; L.F. Ochoa | Life cycle assessment of the transmission network in Great Britain | 2010 | Energy Policy |  | https://doi.org/10.1016/j.enpol.2010.02.039
Turconi et al. 2014 | 2 |  | journal paper | R. Turconi; C.G. Simonsen; I.P. Byriel; T. Astrup | Life cycle assessment of the Danish electricity distribution network | 2014 | The International Journal of Life Cycle Assessment |  | https://doi.org/10.1007/s11367-013-0632-y
Jorge et al. 2012 | 3 |  | journal paper | R.S. Jorge; T.R. Hawkins; E.G. Hertwich | Life cycle assessment of electricity transmission and distribution—part 2: transformers and substation equipment | 2012 | The International Journal of Life Cycle Assessment |  | https://doi.org/10.1007/s11367-011-0336-0
Jones et al. 2010 | 4 |  | journal paper | C.I. Jones; M.C. McManus | Life-cycle assessment of 11 kV electrical overhead lines and underground cables | 2010 | Journal of Cleaner Production |  | https://doi.org/10.1016/j.jclepro.2010.05.008
van Vuuren 2007 | 5 |  | PhD Thesis | D.P. van Vuuren | Energy systems and climate policy: Long-term scenarios for an uncertain future | 2007 |  | Utrecht | http://dspace.library.uu.nl/handle/1874/21449 |  |  |  | page
Deetman et al. 2020 | 6 |  | journal paper | S. Deetman; H.S. de Boer; M. Van Engelenburg; E. van der Voet; D.P. van Vuuren; | Projected material requirements for the global electricity infrastructure – generation, transmission and storage | 2020 | Resources, Conservation & Recycling |  | https://doi.org/10.1016/j.resconrec.2020.105200
IRP GRO 2024 | 7 |  | report | International Resource Panel | Global Resource Outlook 2024 | 2024 | [6 empty] | Forthcoming
Balzer & Schorn, 2015 | 8 |  | book | Balzer & Schorn | Asset Management for Infrastructure Systems: Energy and Water | 2015 |  |  | https://books.google.nl/books?id=4WJ1CQAAQBAJ |  |  |  | Table 2.17, page 83, personal interpretation & aggregation was applied to extract lifetime data (by Deetman)
Kalt et al., 2021 | 9 |  | journal paper | Gerald Kalt, Philipp Thunshirn, Dominik Wiedenhofer, Fridolin Krausmann, Willi Haas, Helmut Haberl | Material stocks in global electricity infrastructures – An empirical analysis of the power sector's stock-flow-service nexus | 2021 | Resources, Conservation & Recycling |  | https://doi.org/10.1016/j.resconrec.2021.105723